## Result sheet
Method name: Ish_FP (Modified)
Application: SparkControl |  |  |  | V2.1
Device: Spark |  |  |  | Serial number: 1703007457
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7
Date: |  |  |  | 2020-01-15
Time: |  |  |  | 1:39 PM
System |  |  |  | SPARK-PC
User |  |  |  | Spark-PC\Spark
Plate |  |  |  | [COS96ft] - Costar 96 Flat Transparent [COS96ft]
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence polarisation |  |  |  |  | FP
| Fluorescence Top Reading |  |  |  |  | FI
Name |  |  |  | COS96ft
Plate layout
Plate area |  |  |  | A1-A6;A9-H12;B1-G3;H1-H6
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | None | None | None | None | None | None | None | None | None | None | None | None
B | None | None | None | None | None | None | None | None | None | None | None | None
C | None | None | None | None | None | None | None | None | None | None | None | None
D | None | None | None | None | None | None | None | None | None | None | None | None
E | None | None | None | None | None | None | None | None | None | None | None | None
F | None | None | None | None | None | None | None | None | None | None | None | None
G | None | None | None | None | None | None | None | None | None | None | None | None
H | None | None | None | None | None | None | None | None | None | None | None | None
Mode | Fluorescence polarisation
Name | FP
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 485 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 535 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 75 | Optimal
Mirror |  |  |  | Dichroic 510
Number of flashes |  |  |  | 30
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 20000 | µm
Z-Position mode |  |  |  | Manual
G Factor |  |  |  | 1 | Manual
Measurement Blank |  |  |  | Not defined
Part of Plate |  |  |  | A1-A6;A9-H12;B1-G3;H1-H6
Start Time |  |  |  | 2020-01-15 13:38:01
Temperature |  |  |  | 28.4 | °C | [7 empty] | Z-Factor |  | StdDev |  | 1369.5836
[13 empty] | 2 | 211.2736 | 77.6827
Fluorescence polarisation
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Polarization Calculation (1) | Polarization Calculation (1) |  | No Normalization | Reported Value
A | 13 | -2 | 6 | 37 | 54 | 89 |  |  | 256 | 59 | 260 | 62 | 0.18692 | 1369.5836 |  | 21021 | 256 | 256 | 0
B | 5 | -2 | -3 | [5 empty] | 237 | 51 | 247 | 50 | 0.17152 | 1381.7239 |  | 18883 | 237 | 234.9176 | 2.0824
C | -2 | 0 | -2 | [5 empty] | 207 | 35 | 215 | 26 | 0.14812 | 1397.5092 |  | 16173 | 207 | 202.8636 | 4.1364
D | 2 | 0 | 1 | [5 empty] | 187 | 24 | 190 | 20 | 0.13306 | 1405.3786 |  | 15396 | 187 | 182.2371 | 4.7629
E | -2 | 0 | -1 | [5 empty] | 159 | 9 | 154 | 13 | 0.11157 | 1425.0796 |  | 12139 | 159 | 152.8082 | 6.1918
F | 0 | -1 | -1 | [5 empty] | 126 | 2 | 130 | 0 | 0.087975 | 1432.2223 |  | 10544 | 126 | 120.4893 | 5.5107
G | -3 | -3 | -6 | [5 empty] | 96 | -2 | 98 | -4 | 0.065905 | 1456.6432 |  | 7164 | 96 | 90.2623 | 5.7377
H | -3 | -5 | -5 | 81 | 150 | 328 |  |  | 91 | -7 | 83 | -3 | 0.0629 | 1446.7458 |  | 7493 | 91 | 86.1465 | 4.8535
[13 empty] | 0.040465 | 1458.0403 |  | 4686 | 59 | 55.4206 | 3.5794
[13 empty] | 0.034616 | 1473.3194 |  | 4058 | 51 | 47.4091 | 3.5909
Rawdata (perpendicular) | [12 empty] | 0.023859 | 1466.9511 |  | 2801 | 35 | 32.6769 | 2.3231
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0.016288 | 1473.5101 |  | 1923 | 24 | 22.3073 | 1.6927
A | 5218 | 6675 | 6813 | 9942 | 8679 | 6970 |  |  | 30480 | 37039 | 29637 | 37822 | 0.0061734 | 1457.8784 |  | 740 | 9 | 8.4549 | 0.54508
B | 4481 | 8932 | 8048 | [5 empty] | 30402 | 37724 | 25464 | 37177 | 0.0015489 | 1291.2147 |  | 191 | 2 | 2.1214 | -0.12139
C | 6524 | 8454 | 7876 | [5 empty] | 31005 | 38199 | 34039 | 38448 | -0.0012321 | 1623.2941 |  | -153 | -2 | -1.6874 | -0.31259
D | 5701 | 8795 | 7662 | [5 empty] | 33437 | 38714 | 33545 | 38176 | -0.004428 | 1580.8571 |  | -539 | -7 | -6.0645 | -0.93551
E | 7322 | 8349 | 7504 | [5 empty] | 32220 | 39710 | 31945 | 39490
F | 6569 | 8094 | 7374 | [5 empty] | 36436 | 41040 | 34201 | 40869
G | 4914 | 7873 | 7128 | [5 empty] | 33846 | 41445 | 35492 | 40680
H | 3117 | 5203 | 5274 | 455 | 171 | 107 |  |  | 37211 | 40755 | 36014 | 41285
Rawdata (parallel) | [12 empty] | Parallel (1) | Parallel (2) |  | Perpendicular (1) | Perpendicular (2) |  | Total (1)
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 51501 | 50428 |  | 30480 | 29637 |  | 112461
A | 5359 | 6644 | 6897 | 10712 | 9664 | 8329 |  |  | 51501 | 41725 | 50428 | 42865 | 49285 | 42184 |  | 30402 | 25464 |  | 110089
B | 4525 | 8896 | 8001 | [5 empty] | 49285 | 41782 | 42184 | 41123 | 47178 | 52688 |  | 31005 | 34039 |  | 109187
C | 6496 | 8452 | 7851 | [5 empty] | 47178 | 41000 | 52688 | 40507 | 48833 | 49244 |  | 33437 | 33545 |  | 115707
D | 5726 | 8803 | 7671 | [5 empty] | 48833 | 40637 | 49244 | 39712 | 44359 | 43555 |  | 32220 | 31945 |  | 108799
E | 7291 | 8349 | 7493 | [5 empty] | 44359 | 40450 | 43555 | 40530 | 46980 | 44414 |  | 36436 | 34201 |  | 119851
F | 6573 | 8074 | 7353 | [5 empty] | 46980 | 41231 | 44414 | 40891 | 41010 | 43209 |  | 33846 | 35492 |  | 108702
G | 4886 | 7818 | 7041 | [5 empty] | 41010 | 41292 | 43209 | 40367 | 44704 | 42529 |  | 37211 | 36014 |  | 119126
H | 3101 | 5152 | 5218 | 535 | 231 | 212 |  |  | 44704 | 40216 | 42529 | 41052 | 41725 | 42865 |  | 37039 | 37822 |  | 115803
[13 empty] | 41782 | 41123 |  | 37724 | 37177 |  | 117230
[13 empty] | 41000 | 40507 |  | 38199 | 38448 |  | 117397
Anisotropy | [12 empty] | 40637 | 39712 |  | 38714 | 38176 |  | 118064
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 40450 | 40530 |  | 39710 | 39490 |  | 119871
A | 9 | -2 | 4 | 25 | 36 | 61 |  |  | 187 | 40 | 190 | 43 | 41231 | 40891 |  | 41040 | 40869 |  | 123311
B | 3 | -1 | -2 | [5 empty] | 172 | 35 | 180 | 34 | 41292 | 40367 |  | 41445 | 40680 |  | 124183
C | -1 | 0 | -1 | [5 empty] | 148 | 24 | 154 | 18 | 40216 | 41052 |  | 40755 | 41285 |  | 121725
D | 1 | 0 | 0 | [5 empty] | 133 | 16 | 135 | 13
E | -1 | 0 | 0 | [5 empty] | 112 | 6 | 108 | 9
F | 0 | -1 | -1 | [5 empty] | 88 | 2 | 91 | 0
G | -2 | -2 | -4 | [5 empty] | 66 | -1 | 68 | -3
H | -2 | -3 | -4 | 56 | 105 | 246 |  |  | 63 | -4 | 57 | -2
Total Intensity
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 15796 | 19994 | 20523 | 30597 | 27023 | 22269 |  |  | 112461 | 115803 | 109703 | 118510
B | 13488 | 26760 | 24098 | [5 empty] | 110089 | 117230 | 93113 | 115477
C | 19543 | 25360 | 23603 | [5 empty] | 109187 | 117397 | 120765 | 117403
D | 17129 | 26393 | 22995 | [5 empty] | 115707 | 118064 | 116334 | 116065
E | 21934 | 25046 | 22501 | [5 empty] | 108799 | 119871 | 107446 | 119510
F | 19711 | 24262 | 22102 | [5 empty] | 119851 | 123311 | 112816 | 122630
G | 14714 | 23564 | 21298 | [5 empty] | 108702 | 124183 | 114193 | 121727
H | 9336 | 15557 | 15765 | 1446 | 573 | 427 |  |  | 119126 | 121725 | 114557 | 123622
Intensity (parallel)
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 5359 | 6644 | 6897 | 10712 | 9664 | 8329 |  |  | 51501 | 41725 | 50428 | 42865
B | 4525 | 8896 | 8001 | [5 empty] | 49285 | 41782 | 42184 | 41123
C | 6496 | 8452 | 7851 | [5 empty] | 47178 | 41000 | 52688 | 40507
D | 5726 | 8803 | 7671 | [5 empty] | 48833 | 40637 | 49244 | 39712
E | 7291 | 8349 | 7493 | [5 empty] | 44359 | 40450 | 43555 | 40530
F | 6573 | 8074 | 7353 | [5 empty] | 46980 | 41231 | 44414 | 40891
G | 4886 | 7818 | 7041 | [5 empty] | 41010 | 41292 | 43209 | 40367
H | 3101 | 5152 | 5218 | 535 | 231 | 212 |  |  | 44704 | 40216 | 42529 | 41052
Intensity (perpendicular)
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 5218 | 6675 | 6813 | 9942 | 8679 | 6970 |  |  | 30480 | 37039 | 29637 | 37822
B | 4481 | 8932 | 8048 | [5 empty] | 30402 | 37724 | 25464 | 37177
C | 6524 | 8454 | 7876 | [5 empty] | 31005 | 38199 | 34039 | 38448
D | 5701 | 8795 | 7662 | [5 empty] | 33437 | 38714 | 33545 | 38176
E | 7322 | 8349 | 7504 | [5 empty] | 32220 | 39710 | 31945 | 39490
F | 6569 | 8094 | 7374 | [5 empty] | 36436 | 41040 | 34201 | 40869
G | 4914 | 7873 | 7128 | [5 empty] | 33846 | 41445 | 35492 | 40680
H | 3117 | 5203 | 5274 | 455 | 171 | 107 |  |  | 37211 | 40755 | 36014 | 41285
End Time |  |  |  | 2020-01-15 13:38:53
Mode | Fluorescence Top Reading
Name | FI
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 485 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 535 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 62 | Optimal
Mirror |  |  |  | Dichroic 510
Number of flashes |  |  |  | 30
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 20000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A6;A9-H12;B1-G3;H1-H6
Start Time |  |  |  | 2020-01-15 13:39:17 | [8 empty] | 53221
Temperature |  |  |  | 28.3 | °C | [7 empty] | 51407
50551
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 53073
A | 7093 | 8922 | 9142 | 13719 | 12165 | 10147 |  |  | 53221 | 51395 | 51830 | 52426 | 49819
B | 6002 | 11884 | 10684 | [5 empty] | 51407 | 51867 | 44345 | 51098 | 53950
C | 8659 | 11331 | 10517 | [5 empty] | 50551 | 51799 | 55574 | 51357 | 48744
D | 7663 | 11766 | 10238 | [5 empty] | 53073 | 51620 | 53427 | 50764 | 52855
E | 9717 | 11161 | 10068 | [5 empty] | 49819 | 52305 | 49554 | 52482 | 51395
F | 8790 | 10809 | 9827 | [5 empty] | 53950 | 53267 | 51080 | 53150 | 51867
G | 6541 | 10505 | 9466 | [5 empty] | 48744 | 53854 | 51288 | 52755 | 51799
H | 4144 | 6891 | 6995 | 702 | 281 | 218 |  |  | 52855 | 52470 | 50710 | 53630 | 51620
52305
53267
End Time |  |  |  | 2020-01-15 13:39:45 | [8 empty] | 53854
52470